Name of Home:

Date when checks were completed:

Name of Person completing:

Weekly Home Fire Checks

If any faults, please note here and report to manager:

Is there any fault with the fire panel (If Applicable)					Yes/No

Which Call Point was tested? (If Applicable)

Can the alarm be heard in all areas of the home with doors shut?			Yes/No

Has the fire alarm been tested?							Yes/No

Fire Alarm Checks

If Emergency Lights did not work, please report which ones to the manager:

Did all the Emergency Lights come on when the main lights went off?			Yes/No

Emergency Lighting Check

Date of last service:

If the extinguishers are mounted in a tray or on the wall, is the signage correct?	Yes/No

Are the anti-tamper seals in place on all extinguishers?				Yes/No

Fire Extinguishers

Did the Door Release Mechanisms release when the fire alarm went off?		Yes/No

Door Release

Are there any E Bikes or E Scooters on site? They must be stored outside.		Yes/No

Are any extension leads overloaded, or daisy chained?				Yes/No

When was the date of your last fire drill:                                 nighttime drill:

Are all escape routes accessible?							Yes/No

Is there any damage to the Intumescent Strip around the door?			Yes/No

Do all Fire Doors close on their own?							Yes/No

General Fire Checks

If you have answered No to the any of the above checks, please not the issues below ensure you email this report this to your manager.

Signed:									Date: